## Sheet1
Commanded Wavelength (nm) | Software Peak Wavelength (nm) | Gaussian Fit Wavelength
420.72 | 420.64 |  | Home | 50 micron slit each
650 |  |  |  | ¦
600 |  |  |  | ¦
550 |  |  |  | ¦
500 |  |  |  | ¦
450 |  |  |  | ¦
400 |  |  |  | V
350 |  |  | 400 micron exit | 1 mm entrance
300 |  |  |  | ¦
250 |  |  |  | V
`